## Trafo_Unit
PT PEMBANGKITAN JAWA BALI
PJB INTEGRATED MANAGEMENT SYSTEM
LAPORAN ASSESSMENT UNIT AUXILIARY TRANSFORMER
Nameplate Unit Auxiliary Transformer
- | Standard | : | Tes
- | Manufaktur | : | ChongQing AEA Group Transformer CO., Ltd
- | Asal | : | oke
- | Tipe | :
- | Fasa | :
- | Rated Power | :
- | Rated Voltage | :
- | Simbol sambungan | :
- | Frekuensi | :
- | Tipe pendingin | :
- | No Seri | :
- | Tahun pembuatan | :
- | Percentage Impedance | :
- | Insulation Level | :
- | Arus Nominal Tegangan Tinggi | :
- | Arus Nominal Tegangan Rendah | :
- | Load losses | :
- | No load losses | :
- | No load current | :
- | Active body | :
- | Oil tank | :
- | Shipping weight | :
- | Oil | :
- | Gross weight | :

## Trafo_Uji
|  |  |  | PT PEMBANGKITAN JAWA BALI | [5 empty] | No. Dok. | : TES_CETAK
|  |  |  | PJB INTEGRATED MANAGEMENT SYSTEM | [5 empty] | Tgl. Terbit | : 09 Januari 2023
|  |  |  | FORM UJI | [5 empty] | Revisi | : 1
|  |  |  | Uji Tahanan Belitan Trafo 2 Winding | [5 empty] | Halaman | : 1
Site : |  |  | Manufaktur |  |  | Tahun |  | QP No. |  |  |  | FU No.
Unit : |  |  | Inspeksi |  |  | 2023 |  | OEM Doc. No. |  |  |  | -
|  | TAP CHANGER |  | WINDING RESISTANCE TEST
|  | TAP POSITION | TEGANGAN (V) | HV SIDE | [5 empty] | LV SIDE
|  |  |  | RESISTANCE (Ω) |  |  | DEVIASI (%) |  |  | RESISTANCE (Ω) |  |  | DEVIASI (%)
|  |  |  | U | V | W | U | V | W | u | v | w | u | v | w
|  | 1 TAP | TG 1
|  | 2 TAP | TG 2
MAIN TRANSFORMER (BEFORE TAN DELTA)
|  | Waktu (menit) | HV - Gnd (G&Omega;) | RESISTANCE (Ω) U: LV - Gnd (G&Omega;); RESISTANCE (Ω) V: HV - LV (G&Omega;)
|  |  | 5000 Vdc | RESISTANCE (Ω) U: 5000 Vdc; RESISTANCE (Ω) V: 5000 Vdc
|  | 1 | 5A1
|  | 2 | 5B1
|  | 3 | 5C1
Gnd : Ground
RECOMMENDATION |  | ACCEPTED/REWORK/REPLACE/REPAIR/MONITORING (by Quality Control)
Measuring Tool: |  | Insulation Tester MEGER MIT 525
Description | Tested/measured by |  | Coordinator | RESISTANCE (Ω) V: Quality Control; RESISTANCE (Ω) u: Witness
Name | RIJANTO |  | MUHAMMAD ROKHIM | RESISTANCE (Ω) V: ASRUL; RESISTANCE (Ω) u: WEMPI ACHMAD MUSLIM I
Signature
Date | 09 Januari 2023 |  | 09 Januari 2023 | RESISTANCE (Ω) V: 09 Januari 2023; RESISTANCE (Ω) u: 09 Januari 2023